## Slide 1: Lecture 3: electrophysiology

## Slide 2: Types of recording preparations
In vitro for ion channels
  Xenopus oocytes
  HEK293 cells
  Purified proteins in lipids
Neurons in vitro
  Cultured neurons
  Squid axon
Neurons ex vivo
  Slices: acute vs. slice culture
Anesthetized animal
Head-fixed awake animal
Freely moving animal

## Slide 3: Types of electrodes and recordings
Intracellular
  Sharp electrode
  Patch electrode: cell-attached vs. perforated vs. whole-cell
  Sharpened tungsten (experimental, not widely used)
Juxtacellular/loose patch
  Excellent unit isolation
  Cells can be filled iontophoretically
Extracellular
  Different metal wire types: tungsten, nichrome, stainless steel
  Multisite: stereotrode, tetrode, silicon probe
Field potentials
  LFP: large wires
  EEG: large surface electrodes

## Slide 4: Intracellular electrodes: pulling glass pipettes

## Slide 5: Types of intracellular recordings

## Slide 6: Types of intracellular recordings

## Slide 7: Pros and cons
Voltage clamp vs current clamp
Composition of pipette solutions
Mechanical stability
Dialysing cytoplasm

## Slide 8: Intracellular tungsten
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3419643/
New technology, not widely used

## Slide 9: Extracellular recording: the waveform is upside down
https://slideplayer.com/slide/15830058/

## Slide 10: Microwire recordings

## Slide 11: Tip impedance

## Slide 12: Tetrodes: recording several isolated units simultaneously

## Slide 13: Multisite extracellular recording
http://neuroinformatics2012.org/abstracts/modeling-realistic-extracellular-recordings-of-neuronal-populations-for-the-purpose-of-evaluating-automatic-spike-sorting-algorithms.html

## Slide 15: Silicon probes: precise geometry

## Slide 16: Neuropixels

## Slide 17: How to check where your electrodes went?

## Slide 18: LFP, EEG recordings

## Slide 19: Referencing

## Slide 20: Data acquisition

## Slide 21: Grounding